## HFS Schedule of Rates 1Q 2023
| #NAME? | [7 empty] | Schedule of Rates
v1.1
Updated to 1st quarter 2023
Ref: | Component | Life Expectancy | Quantity Measure Method | Design | Material | Life Cycle / Replacement |  | Overhaul / Repair
[6 empty] | Unit | Rate | Unit | Rate
1 | STRUCTURE
1.01 | Substructure
| Substructure - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 100 | % of GIA based on building footprint | Foundations | Concrete (assumed) | m2 | 966
| Substructure - GIFA - 05 Mental Health Hospital / 07 Older People Hospital / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician / 24 Support Facilities | 100 | % of GIA based on building footprint | Foundations | Concrete (assumed) | m2 | 374
| Substructure - GIFA - 06 Community Hospital / 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 100 | % of GIA based on building footprint | Foundations | Concrete (assumed) | m2 | 742
| Substructure - GIFA - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 100 | % of GIA based on building footprint | Foundations | Concrete (assumed) | m2 | 520
1.02 | Frames
| Concrete Frame (includes concrete floor as part of frame) - GIFA | 70 | 100% of GIA | Beams / Columns | Concrete | m2 | 197
| Steel Frame - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 75 | 100% of GIA | Beams / Columns | Steel | m2 | 251
| Steel Frame - GIFA - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 75 | 100% of GIA | Beams / Columns | Steel | m2 | 179
| Steel Frame - GIFA - 23 Offices (Mid Rise) | 75 | 100% of GIA | Beams / Columns | Steel | m2 | 187
| Steel Frame - GIFA - 24 Support Facilities | 75 | 100% of GIA | Beams / Columns | Steel | m2 | 252
| Steel Frame - GIFA - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 | 75 | 100% of GIA | Beams / Columns | Steel | m2 | 176
| Timber Frame - GIFA - 05 Mental Health Hospital / 07 Older People Hospital | 60 | 100% of GIA | Beams / Columns | Timber | m2 | 77
| Timber Frame - GIFA - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 60 | 100% of GIA | Beams / Columns | Timber | m2 | 76
1.03 | Floors & Stairs
Floors | Floor Concrete Suspended - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital / 06 Community Hospital | 70 | 100% of GIA | Suspended | Concrete | m2 | 186
Floors | Floor Concrete Suspended - GIFA - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 70 | 100% of GIA | Suspended | Concrete | m2 | 75
Floors | Floor Concrete Suspended - GIFA - 23 Offices (Mid Rise) | 70 | 100% of GIA | Suspended | Concrete | m2 | 200
Floors | Floor Timber Joisted - GIFA - 05 Mental Health Hospital / 07 Older People Hospital | 60 | 100% of GIA | Suspended | Timber | m2 | 92
Floors | Floor Timber Joisted - GIFA - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 60 | 100% of GIA | Suspended | Timber | m2 | 92
Stairs | Stairs & Landings - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 50 | 100% of GIA | Solid / Suspended | Timber / Steel / Concrete | m2 | 39
Stairs | Stairs & Landings - GIFA - 05 Mental Health Hospital / 07 Older People Hospital | 50 | 100% of GIA | Solid / Suspended | Timber / Steel / Concrete | m2 | 14
Stairs | Stairs & landings - GIFA - 06 Community Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 50 | 100% of GIA | Solid / Suspended | Timber / Steel / Concrete | m2 | 36
Stairs | Stairs & landings - GIFA - 23 Offices (Mid Rise) | 50 | 100% of GIA | Solid / Suspended | Timber / Steel / Concrete | m2 | 32
Stairs | Stairs & landings - GIFA - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 50 | 100% of GIA | Solid / Suspended | Timber / Steel / Concrete | m2 | 26
1.04 | Roofs
| Framed Roof Concrete - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Concrete | m2 | 129
| Framed Roof Concrete - GIFA - 06 Community Hospital | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Concrete | m2 | 141
| Framed Roof Concrete - GIFA - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Concrete | m2 | 100
| Framed Roof Concrete - GIFA - 23 Offices (Mid Rise) | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Concrete | m2 | 100
| Framed Roof Steel - GIFA - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 75 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Steel | m2 | 53
| Framed Roof Steel - GIFA - 24 Support Facilities | 75 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Steel | m2 | 130
| Framed Roof Steel - GIFA - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 75 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch / Hip end / Flat | Steel | m2 | 75
| Trussed Roof Timber - GIFA | 60 | % of GIA based on building footprint, but adjusted for pitched roofs | Double pitched / Mono pitch / Multi pitch | Timber | m2 | 85
2 | EXTERNAL FABRIC
2.01 | External Walls & Finishes
| Cavity construction - common brick / block (to receive render finish) - whole wall | 80 | Wall area (m2) | Cavity construction | Brick / blockwork / render | m2 | 337
| Cavity construction - common brick / block coupled with facing brick leaf replacement - whole wall | 80 | Wall area (m2) | Cavity construction | Facing / common brick / blockwork | m2 | 404
| Common brick / block leaf replacement, cavity construction - single leaf only | 80 | Wall area (m2) | Cavity construction | Common brick | m2 | 171 | m2 | 203
| Facing brick leaf replacement, cavity construction - single leaf only | 80 | Wall area (m2) | Cavity construction | Facing brick | m2 | 237 | m2 | 284
| Repointing existing brickwork | 0 | Wall area (m2) | Wall | Mortar |  |  | m2 | 37
| Render - Dry / wet dash render replacement | 40 | Wall area (m2) | Wall | Render | m2 | 119 | m2 | 141
| Render - Smooth render replacement | 40 | Wall area (m2) | Wall | Render | m2 | 104 | m2 | 121
| Stone (modern), cavity construction, ashlar | 80 | Wall area (m2) | Solid construction | Stone | m2 | 655 | m2 | 786
| Stone (original), solid construction, ashlar | 80 | Wall area (m2) | Solid construction | Stone | m2 | 805 | m2 | 967
| Stone (original), solid construction, ornate ashlar | 80 | Wall area (m2) | Solid construction | Stone | m2 | 1208 | m2 | 1450
| Stone (original), solid construction, very ornate ashlar | 80 | Wall area (m2) | Solid construction | Stone | m2 | 1608 | m2 | 1931
| Repointing existing stonework - coursed sandstone | 0 | Wall area (m2) | Wall | Lime mortar |  |  | m2 | 60
| Repointing existing stonework - random rubble | 0 | Wall area (m2) | Wall | Lime mortar |  |  | m2 | 76
| Precast concrete cladding panel replacement, cavity construction | 40 | Wall area (m2) | Wall cladding | Precast concrete | m2 | 622 | m2 | 747
| Profiled metal wall cladding | 40 | Wall area (m2) | Wall cladding | Profiled metal | m2 | 186 | m2 | 223
| Timber cladding replacement, cavity construction | 40 | Wall area (m2) | Wall cladding | Timber | m2 | 171 | m2 | 203
| Milled Sheet Lead; BS Code 4 | 67 | Wall area (m2) | Cladding | Lead | m2 | 354 | m2 | 440
| Zinc; 12 gauge; seamed joints | 50 | Wall area (m2) | Cladding | Zinc | m2 | 354 | m2 | 440
| Precast Concrete Brick Clad: Insulation; linings | 55 | Wall area (m2) | Cladding | Concrete | m2 | 555 | m2 | 692
| Precast Concrete Natural Stone Faced: Insulation; lining and fixings | 60 | Wall area (m2) | Cladding | Concrete | m2 | 797 | m2 | 994
| Precast Concrete: Exposed aggregate finish; insulation; lining and fixings | 60 | Wall area (m2) | Cladding | Concrete | m2 | 455 | m2 | 566
| PVCu Cladding; 150mm; shiplap; insulated | 30 | Wall area (m2) | Cladding | PVCu | m2 | 478 | m2 | 597
| Concrete tiles | 40 | Wall area (m2) | Cladding | Concrete | m2 | 87 | m2 | 108
| Slates | 30 | Wall area (m2) | Cladding | Slates | m2 | 190 | m2 | 316
| Panels: GRP plain or decorative finish | 35 | Wall area (m2) | Cladding | GRP | m2 | 478 | m2 | 597
| Profiled Sheet: Galvanised Steel PVF2 Coated | 30 | Wall area (m2) | Cladding | Steel | m2 | 218 | m2 | 274
| Profiled Sheet: Glass-Fibre | 25 | Wall area (m2) | Cladding | Glass-Fibre | m2 | 478 | m2 | 597
| Profiled Sheet: Plastic | 25 | Wall area (m2) | Cladding | Plastic | m2 | 478 | m2 | 597
| Modular buildings - includes everything except floor coverings and decoration | 30 | 100% of GIA | Modular building |  | m2 | 1408
| Steel storage containers | 30 | No. of containers | Storage container |  | No. | 8049
| Conservatory | 25 | 100% of GIA | Conservatory |  | m2 | 2415
2.02 | Windows & Ironmongery
| Curtain Walling System: Double Glazed Polyester Powder Coated Aluminium `Stick' System: Medium/high quality standard; 6mm laminate glass; including opaque insulated spandrel panels | 37 | Curtain walling area (m2) | Double glazed / curtain walling | Aluminium | m2 | 706 | m2 | 136
| Curtain Walling System: Structural Siliconed Double Glazed Standard `Unitised/Panelled' Assembly: 10mm and 6mm clear and laminate; factory produced; on aluminium frame | 45 | Curtain walling area (m2) | Double glazed / curtain walling - structural | Aluminium | m2 | 1257 | m2 | 136
| Windows: Aluminium Acrylic Finished: Vertical or horizontal sliding; plugged and screwed | 40 | No. of windows | Casement | Aluminium | No. | 1074 | No. | 136
| Windows: Galvanised Steel Polyester Powder Coated: Top/side hung; opening lights; weather stripping; frames bed in mastic, pointed one side | 45 | No. of windows | Casement | Steel | No. | 1226 | No. | 136
| Windows: PVCu Casement: Fixed/tilt and turn light; cills and glazing; EPDM glazing gaskets and weather seals; including all ironmongery | 30 | No. of windows | Casement / tilt & turn | UPVC | No. | 706 | No. | 136
| Windows: Timber Casement: Side hung; hardwood cills; weather-stripping; fitted with fasteners; preservative stained base coat | 30 | No. of windows | Casement | Timber | No. | 855 | No. | 136
| Windows: Timber Traditional Sash and Case Window | 45 | No. of windows | Sash and case | Timber | No. | 2223 | No. | 374
| Glass block walling | 25 | Area of glazing (m2) | Glass blocks |  | m2 | 681 | m2 | 850
| Broken Glass - Double Glazed | 0 | Area of glass (m2) | Window | Glass |  |  | m2 | 248
| Broken Glass - Fire Rated | 0 | Area of glass (m2) | Window | Glass |  |  | m2 | 789
| Broken Glass - Georgian Wired | 0 | Area of glass (m2) | Window | Glass |  |  | m2 | 423
| Broken Glass - Single Glazed | 0 | Area of glass (m2) | Window | Glass |  |  | m2 | 155
| Broken Window Ironmongery | 0 | Area of glass (m2) | Window | Metal/Plastic |  |  | No. | 38
| Window grilles | 20 | No. of grilles | Grilles | Steel | No. | 322
2.03 | External Doors & Ironmongery
| External Door Frames and Lining Sets: Aluminium Frame Revolving Door Semi/Fully Glazed door | 35 | No. | Semi glazed / fully glazed | Aluminium | No. | 7337 | No. | 446
| External Door Frames and Lining Sets: Aluminium Frame Double Automated Semi/Fully Glazed door | 35 | No. of doors | Semi glazed / fully glazed | Aluminium | No. | 6617 | No. | 446
| External Door Frames and Lining Sets: Aluminium Frame louvered plant room door | 35 | No. of doors | Louvered | Aluminium | No. | 4633 | No. | 446
| External Door Frames and Lining Sets: Aluminium Frame Semi/Fully Glazed | 35 | No. of doors | Semi glazed / fully glazed | Aluminium | No. | 4235 | No. | 446
| External Door Frames and Lining Sets: Steel Flush Panelled, painted | 35 | No. of doors | Flush | Steel | No. | 3311 | No. | 446
| External Door Frames and Lining Sets: Steel Roller Shutter (Pedestrian) | 35 | No. of doors | Roller Shutter | Steel | No. | 2383 | No. | 446
| External Door Frames and Lining Sets: Steel Roller Shutter (Vehicle) | 35 | No. of doors | Roller Shutter | Steel | No. | 4633 | No. | 446
| External Door Frames and Lining Sets: Timber Frame louvered plant room door | 35 | No. of doors | Louvered | Timber | No. | 2913 | No. | 446
| External Door Frames and Lining Sets: Timber Semi/Fully Glazed: Purpose made; jambs and heads; 50x100mm; as frames; rebated, rounded and grooved | 35 | No. of doors | Semi glazed / fully glazed | Timber | No. | 2594 | No. | 446
| External Door Frames and Lining Sets: Hardwood: Purpose made; jambs and heads; 50x100mm; as frames; rebated, rounded and grooved | 35 | No. of doors | Flush | Timber | No. | 2077 | No. | 446
| External Door Frames and Lining Sets: Treated Softwood: Standard; primed; untreated hardwood cills | 27 | No. of doors | Flush | Timber | No. | 1676 | No. | 446
| External Door Frames and Lining Sets: PVCu | 25 | No. of doors | Flush | PVCu | No. | 2077 | No. | 446
| External Door Frames and Lining Sets: PVCu semi glazed | 25 | No. of doors | Semi glazed / fully glazed | PVCu | No. | 2594 | No. | 446
2.04 | External Cladding/Eaves Detail
| Eaves detail, boxed, Timber, 450mm girth | 40 | Linear metre length | Box eaves detail / Soffit | Timber | m | 70 | m | 86
| Eaves detail, boxed, PVCu, 450mm girth | 40 | Linear metre length | Box eaves detail / Soffit | UPVC | m | 86 | m | 107
| Eaves detail, soffit, Timber, 300mm wide | 40 | Linear metre length | Soffit | Timber | m | 35 | m | 46
| Eaves detail, soffit, PVCu, 300mm wide | 40 | Linear metre length | Soffit | UPVC | m | 52 | m | 65
2.05 | External Decoration
| Decoration to external render | 5 | Wall area (m2) |  | Paint | m2 | 34 | m2 | 40
| Decoration to external timbers | 5 | Area of timber (m2) |  | Paint | m2 | 18 | m2 | 24
| Decoration to rainwater goods | 5 | Linear metre length |  | Paint | m | 10 | m | 13
| Decoration to standard timber windows | 5 | No. of windows |  | Paint | No. | 33 | No. | 39
| Decoration to timber sash & case windows | 5 | No. of windows |  | Paint | No. | 64 | No. | 78
| Decoration to external metal fire escapes (cost per storey) | 5 | per storey |  | Paint | No. | 1928
2.99 | Other
| External metal fire escapes (cost per storey) | 30 | per storey | External Fire Escape | Metal | No. | 14057
3 | ROOF
3.01 | Coverings – Pitched
| Concrete tiles | 60 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Concrete tiles | m2 | 70 | m2 | 86
| Slates | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Slate | m2 | 153 | m2 | 189
| Rosemary clay tiles | 70 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Rosemary clay tiles | m2 | 119 | m2 | 149
| Profiled: PVF2 coated galvanised steel | 30 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Profiled metal sheeting | m2 | 218 | m2 | 129
| Profiled: glass fibre translucent sheet cladding, 2400 x 1200 mm | 20 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Translucent sheet cladding | No. | 150
| Fibre Cement: Profiled sheet cladding | 35 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Profiled cement sheeting |  |  | m2 | 114
| High performance bituminous felt: two layer covering; bonded | 20 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Felt | m2 | 119 | m2 | 149
| Copper sheeting | 60 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Copper | m2 | 254 | m2 | 315
| Lead | 67 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Lead | m2 | 218 | m2 | 274
| Standing seam | 30 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Steel / Aluminium | m2 | 120 | m2 | 150
| Zinc sheeting | 40 | % of GIA based on building footprint, but adjusted for pitched roofs | Pitched | Zinc | m2 | 218 | m2 | 274
| Moderate complex roofs - extra over cost |  |  |  |  | m2 | 37 | m2 | 47
| Complex roofs - extra over cost |  |  |  |  | m2 | 72 | m2 | 90
3.02 | Coverings – Flat
| High performance bituminous felt: two layer covering; bonded | 20 | % of GIA based on building footprint | Flat | Bituminous felt | m2 | 119 | m2 | 149
| Lead | 67 | % of GIA based on building footprint | Flat | Lead | m2 | 254 | m2 | 315
| Synthetic Rubber (EPDM) / single ply | 20 | % of GIA based on building footprint | Flat | Synthetic rubber (EPDM) | m2 | 186 | m2 | 232
| Asphalt | 30 | % of GIA based on building footprint | Flat | Asphalt | m2 | 203 | m2 | 254
| Asphalt: Solar Reflective Paint Only | 10 | % of GIA based on building footprint | Flat | Solar reflective paint | m2 | 35 | m2 | 46
3.03 | Roof Lights
| Aluminium Frame: Roof Window - Fixed Light | 32 | Area of rooflights (m2) | Rooflight | Aluminium | m2 | 818 | m2 | 136
| Aluminium Frame: Roof Window - Opening Light | 32 | Area of rooflights (m2) | Rooflight | Aluminium | m2 | 1007 | m2 | 299
| Polycarbonate: Dome - Fixed Light | 30 | Area of rooflights (m2) | Rooflight | Polycarbonate | m2 | 742 | m2 | 136
| Polycarbonate: Dome - Opening Light | 30 | Area of rooflights (m2) | Rooflight | Polycarbonate | m2 | 2223 | m2 | 299
| Velux Style, 1m2 | 32 | No. of rooflights | Rooflight | Velux | No. | 555 | No. | 136
3.04 | Rainwater Goods
| Cast iron: Rainwater pipes / gutters / roof outlets | 50 | Linear metre length | Downpipes / gutters | Cast iron | m | 136 | m | 171
| Lead: Box gutters and flashings | 60 | Linear metre length | Gutters / flashings | Lead | m | 337 | m | 420
| Powder Coated Aluminium: Pipes / gutters / outlets | 40 | Linear metre length | Downpipes / gutters | Aluminium | m | 86 | m | 107
| PVCu: Rainwater pipes / gutters / roof outlets | 25 | Linear metre length | Downpipes / gutters | PVCu | m | 52 | m | 65
3.05 | Chimney Stacks & Parapet Walls
| Chimney stack / parapet wall - Common brick / block | 35 | Area of chimneystacks / parapet walls (m2) | Chimney stacks / parapet walls / handrails | Common brick / block | m2 | 237 | m2 | 284
| Chimney stack / parapet wall - facing brick | 35 | Area of chimneystacks / parapet walls (m2) | Chimney stacks / parapet walls / handrails | Facing brick | m2 | 337 | m2 | 404
| Chimney stack / parapet wall - stone, ashlar | 35 | Area of chimneystacks / parapet walls (m2) | Chimney stacks / parapet walls / handrails | Stone | m2 | 855 | m2 | 1027
| Parapet wall - ornate stone | 35 | Area of chimneystacks / parapet walls (m2) | Chimney stacks / parapet walls / handrails | Stone | m2 | 1708 | m2 | 2050
| Coping: Concrete | 55 | Linear metre length | Chimney stacks / parapet walls / handrails | Concrete | m | 273 | m | 91
| Chimney Cowl | 35 | No. of cowls | Chimney Stack | Cowl | No. | 113
| Chimney Pot | 55 | No. of pots | Chimney Stack | Pot | No. | 336
| Chimney: Cap & Vent Existing Un-used Chimney | 35 | No. of chimneystacks | Chimney Stack |  |  |  | No. | 578
3.99 | Other
| Scaffolding | 30 | Wall area (m2) | Allowance |  | m2 | 38
| Roof edge protection | 30 | Linear metre length | Roof edge protection | Galvanised | m2 | 98
| Fixed vertical ladder and safety cage | 30 | per storey | Fixed vertical ladder and safety cage | Steel | No. | 1928
4 | INTERNAL FABRIC
4.01 | Internal Walls & Finishes
| Internal Walls & Finishes - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 60 | 100% of GIA | Internal walls |  | m2 | 292
| Internal Walls & Finishes - 05 Mental Health Hospital / 07 Older People Hospital | 60 | 100% of GIA | Internal walls |  | m2 | 169
| Internal Walls & Finishes - 06 Community Hospital | 60 | 100% of GIA | Internal walls |  | m2 | 217
| Internal Walls & Finishes - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 60 | 100% of GIA | Internal walls |  | m2 | 187
| Internal Walls & Finishes - 23 Offices (Mid Rise) | 60 | 100% of GIA | Internal walls |  | m2 | 180
| Internal Walls & Finishes - 24 Support Facilities | 60 | 100% of GIA | Internal walls |  | m2 | 171
| Internal Walls & Finishes- 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 60 | 100% of GIA | Internal walls |  | m2 | 153
| Internal Walls & Finishes - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 60 | 100% of GIA | Internal walls |  | m2 | 248
| Whiterock or equal wall lining - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 20 | % of GIA | Wall lining | Whiterock | m2 | 76
| Whiterock or equal wall lining- 05 Mental Health Hospital / 07 Older People Hospital / 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Wall lining | Whiterock | m2 | 17
| Whiterock or equal wall lining - 06 Community Hospital | 20 | % of GIA | Wall lining | Whiterock | m2 | 61
| Whiterock or equal wall lining - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA | Wall lining | Whiterock | m2 | 17
| Boarding/Panelling: Gyproc Wallboard: Insulating grade, plastic faced; taped joints; for direct decoration | 37 | Wall area (m2) | Stud partition | Insulated plasterboard | m2 | 219 | m2 | 274
| Boarding/Panelling: Hardwood: Tongued and grooved, v-jointed; including battens | 50 | Wall area (m2) | Wall lining | Timber panelling | m2 | 186 | m2 | 232
| Boarding/Panelling: Whiterock or equal wall lining | 20 | Wall area (m2) | Wall lining | Whiterock | m2 | 117 | m2 | 149
| Board/Panelling: Sound proofing system | 20 | Wall area (m2) | Wall lining | Acoustic Panels | m2 | 258 | m2 | 300
| Insitu Finishes: Lightweight Plaster: Two coats; to brickwork/blockwork base | 50 | Wall area (m2) | Wall finish | Plaster | m2 | 70 | m2 | 86
| Partitions (De-mountable): Aluminium: Generally | 25 | Linear metre length | Demountable partitions | Aluminium | m | 506 | m | 627
| Partitions (De-mountable): Glass: Generally | 20 | Linear metre length | Demountable partitions | Glass | m | 1108 | m | 1384
| Partitions (De-mountable): Steel: Generally | 30 | Linear metre length | Demountable partitions | Steel | m | 472 | m | 589
| Partitions: Laminated Plasterboard: 65mm; 19mm outer layers square edge plank core; 19mm tapered edge plank both sides; softwood plates and battens; flush jointed tapered edge panels | 50 | Linear metre length | Stud partition | Laminated plasterboard | m | 569 | m | 715
| Partitions: Metal Stud and Plasterboard: 100mm; two layers 12.5mm wallboard each side; 48mm studs; flush jointed tapered edge panels | 50 | Linear metre length | Stud partition | Plasterboard | m | 374 | m | 492
| Partitions: Metal Stud and Plasterboard: 65mm; one hour; one layer 15mm Fireline board each side; jointed tapered edge panel | 50 | Linear metre length | Stud partition | Plasterboard | m | 486 | m | 609
| Partitions: Timber Stud and Plasterboard: 12.7mm gypsum plasterboard; tapered edges; fixed with galvanised nails to softwood; joints filled, taped and flush jointed | 50 | Linear metre length | Stud partition | Plasterboard | m | 421 | m | 524
| Rigid Finishes: Glazed Ceramic Tiles: Fixing with adhesive; including backing | 25 | Wall area (m2) | Wall finish | Ceramic tiles | m2 | 136 | m2 | 171
| Rigid Finishes: Granite Cladding: 20mm; polished finish; jointed and pointed in coloured mortar; to cement/sand base | 40 | Wall area (m2) | Wall finish | Granite cladding | m2 | 404 | m2 | 506
| Rigid Finishes: Marble Cladding: 20mm; polished finish; jointed and pointed in coloured mortar; to cement/sand base | 45 | Wall area (m2) | Wall finish | Marble cladding | m2 | 404 | m2 | 506
| Toilet cubicles | 20 | No. of toilet cubicles | Toilet cubicle |  | No | 1877
| Toilet/WHB IPS system back panel | 20 | No. of IPS systems | IPS system |  | No. | 2118
4.02 | Floor Coverings
| Insitu Screed: Granolithic: 20mm | 50 | % of GIA | Screed | Granolithic | m2 | 104 | m2 | 129
| Sheet: Vinyl | 15 | % of GIA | Sheet | Vinyl | m2 | 92 | m2 | 113
| Sheet: Vinyl - repair open joints | 0 | m | Sheet | Vinyl |  |  | m | 36
| Tile: Vinyl | 15 | % of GIA | Tiles | Vinyl | m2 | 70 | m2 | 86
| Sheet: Linoleum | 15 | % of GIA | Sheet | Linoleum | m2 | 92 | m2 | 113
| Sheet: Fitted Carpet: Contract medium quality; wool/nylon carpet | 10 | % of GIA | Sheet | Carpet (medium quality) | m2 | 86 | m2 | 107
| Sheet: Fitted Carpet: Contract heavy quality; wool/nylon carpet | 12 | % of GIA | Sheet | Carpet (heavy quality) | m2 | 92 | m2 | 113
| Tile: Carpet: Contract medium quality | 10 | % of GIA | Tiles | Carpet (medium quality) | m2 | 86 | m2 | 107
| Sheet: Barrier matting | 12 | % of GIA | Sheet | Barrier matting | m2 | 131 | m2 | 163
| Tiles: Quarry Tiles: 12.5mm; to cement/sand base | 50 | % of GIA | Tiles | Quarry tiles | m2 | 136 | m2 | 171
| Tiles: Ceramic | 20 | % of GIA | Tiles | Ceramic tiles | m2 | 136 | m2 | 171
| Rigid Finishes: Solid Timber 6mm: Generally | 30 | % of GIA | Rigid | Timber | m2 | 144 | m2 | 173
| Rigid Finishes: Laminate flooring | 10 | % of GIA | Rigid | Laminate | m2 | 60 | m2 | 73
| Rigid Finishes: Parquet: Generally | 30 | % of GIA | Rigid | Timber parquet | m2 | 186 | m2 | 232
| Rigid Finishes: Terrazzo Paving: 16mm; pavings divided into panels; on screeded bed | 50 | % of GIA | Screed | Terrazzo | m2 | 186 | m2 | 232
| Sports Hall: sprung timber flooring, including markings | 30 | % of GIA | Sprung | Timber | m2 | 205 | m2 | 256
| Screed: Linotol | 40 | % of GIA | Screed | Linotol | m2 | 94 | m2 | 117
| Floating: Chipboard: 19mm panels nailed to softwood battens; 63mm Durabella flooring system; on concrete floor | 30 | % of GIA | Floating | Chipboard | m2 | 86 | m2 | 107
| Raised Access: Chipboard Panels: Light/medium or office grade; 300-600mm high; galvanised sheet steel; pedestal supports | 30 | % of GIA | Raised access flooring | Chipboard | m2 | 92 | m2 | 113
| Raised Access: Density Particle Board: 30mm panels; light/medium or office grade; 150mm high overall; pedestal supports | 25 | % of GIA | Raised access flooring | Density particle board | m2 | 119 | m2 | 149
| Skirting: Hardwood: 25x100mm | 47 | Linear metre length | Skirting | Hardwood |  |  | m | 65
| Skirting: MDF: 25x75mm | 30 | Linear metre length | Skirting | MDF |  |  | m | 46
| Skirting: Plastic | 24 | Linear metre length | Skirting | Plastic |  |  | m | 46
| Stairs Finishes: Aluminium: Nosings | 15 | No. of treads | Stair nosings | Aluminium |  |  | per tread | 70
4.03 | Ceilings Finishes
| Plasterboard: 12.5mm Fireline board; fixing with nails to softwood base | 40 | % of GIA | Ceiling Linings | Fireline board | m2 | 70 | m2 | 86
| Plaster: 10mm two coat lightweight plaster; to concrete/plasterboard | 35 | % of GIA | Ceiling Finishes | Plaster | m2 | 70 | m2 | 86
| Boarding/Panelling: MDF: 25mm | 30 | % of GIA | Ceiling Linings | MDF | m2 | 61 | m2 | 76
| Boarding/Panelling: Non-Asbestos Boards: Supalux lining; sanded finish | 35 | % of GIA | Ceiling Linings | Supalux | m2 | 61 | m2 | 76
| Boarding/Panelling: Timber lined, veneered panels | 40 | % of GIA | Ceiling Linings | Timber | m2 | 171 | m2 | 212
| Board/Panelling: Sound proofing system | 20 | % of GIA | Ceiling Linings | Acoustic Panels | m2 | 258 | m2 | 300
| Insitu Finishes: Plaster: 5mm; Thistle board; to plasterboard | 30 | % of GIA | Ceiling Finishes | Plasterboard | m2 | 35 | m2 | 46
| Insitu Finishes: Textured Plastic: One coat sealer and one coat Artex; to plasterboard or concrete ceilings | 25 | % of GIA | Ceiling Finishes | Textured plastic | m2 | 52 | m2 | 65
4.04 | Ceilings - Suspended
| Suspended Ceilings: Aluminium: 600x600mm tile; concealed/exposed grid; hangers to concrete | 25 | % of GIA | Suspended Ceiling | Metal tiles | m2 | 108 | m2 | 135
| Suspended Ceilings: Mineral Wool Based: 600x600mm tile; concealed/exposed grid; to concrete | 20 | % of GIA | Suspended Ceiling | Mineral fibre tiles | m2 | 88 | m2 | 110
| Ceiling Tile: Aluminium: 600x600mm tiles laid in grid | 0 | No. of tiles | Suspended Ceiling | Metal tiles |  |  | No. | 31
| Ceiling Tile: Mineral Wool Based: 600x600mm tiles laid in grid | 0 | No. of tiles | Suspended Ceiling | Mineral fibre tiles |  |  | No. | 26
4.05 | Internal Doors & Ironmongery
| Internal Bifolding Door: Aluminium/Glass: Including ironmongery; generally | 30 | No. of doors | Internal Bifold doors | Metal/Glass | m | 2570 | No. | 476
| Internal Bifolding Door: timber: Including ironmongery; generally | 30 | No. of doors | Internal Bifold doors | Timber | m | 2312 | No. | 476
| Internal Acoustic Door: Metal: Including ironmongery; generally | 30 | No. of doors | Acoustic door | Metal | No | 6418 | No. | 476
| Internal Door: Glass: Including ironmongery; generally | 25 | No. of doors | Internal doors | Glass | No | 3282 | No. | 476
| Internal Doors: Softwood: 44mm flush 1/2hr firecheck door; plywood faced; including ironmongery | 37 | No. of doors | Fire doors | FD30 | No. | 1987 | No. | 476
| Internal Doors: Softwood: 44mm glazed 1/2hr firecheck door; wood veneered; including ironmongery, with glazed panel | 37 | No. of doors | Fire doors | FD30 glazed | No. | 2882 | No. | 476
| Internal Doors: Softwood: 54mm flush 1hr firecheck door; wood veneered; including ironmongery | 37 | No. of doors | Fire doors | FD60 | No. | 2279 | No. | 476
| Internal Doors: Softwood: 54mm glazed 1hr firecheck door; laminate finish; including ironmongery, with glazed panel | 37 | No. of doors | Fire doors | FD60 glazed | No. | 3483 | No. | 476
| Roller Shutters/Doors: Metal: Including ironmongery; generally | 25 | No. of doors | Roller shutter | Metal | No. | 2632 | No. | 476
4.06 | Internal Decoration
| Emulsion paint: to walls & ceilings, gloss to woodwork | 5 | 100% of GIA | Paint | Emulsion | m2 | 35 | m2 | 38
| Emulsion paint: to walls & gloss to woodwork | 5 | 100% of GIA | Paint | Emulsion | m2 | 26 | m2 | 27
| Non-slip floor paint: to previously painted floor | 5 | % of GIA | Paint | Non-Slip | m2 | 34 | m2 | 36
| Emulsion paint: to brick or block walls | 5 | Wall area (m2) | Paint | Masonry | m2 | 22 | m2 | 26
| Vinyl wallpaper: decorative paper backed; adhesive | 8 | Wall area (m2) | Wallpaper | Vinyl | m2 | 29 | m2 | 32
4.99 | Other
| Fixed vertical ladder and safety cage | 30 | per storey | Fixed vertical ladder and safety cage | Steel | No. | 1928
5 | INTERNAL FITTINGS & FIXTURES
5.01 | Sanitary Ware/Fittings
| WC Suite: white / coloured vitreous china pan, seat and low level streamlined finish plastic cistern | 20 | No. of fittings | WC | Vitreous china | No. | 1060
| Clinical WC | 20 | No. of fittings | Clinical WC | Vitreous china | No. | 3032
| WHB | 20 | No. of fittings | WHB | Vitreous china/Stainless Steel | No. | 465
| Clinical sink | 20 | No. of fittings | Clinical WHB | Vitreous china | No. | 2435
| Bath | 30 | No. of fittings | Bath | Plastic | No. | 1405
| Bidet | 20 | No. of fittings | Bidet | Vitreous china | No. | 465
| Trough | 20 | No. of fittings | Trough | Stainless Steel | No. | 465
| Clinical Trough | 20 | No. of fittings | Clinical Trough | Stainless Steel | No. | 2435
| Sink: Stainless Steel | 20 | No. of fittings | Sink | Stainless Steel | No. | 929
| Sink: White glazed fireclay Belfast pattern sink | 20 | No. of fittings | Belfast style sink | Fireclay | No. | 665
| Sluice: Stainless Steel | 20 | No. of fittings | Sluice | Stainless Steel | No. | 929
| Urinal Suite: Single stall urinal; vitreous china | 17 | No. of fittings | Urinal | Vitreous china | No. | 597
| Accessible WC / WHB (DocM pack) | 20 | No. of fittings | WC/WHB | Vitreous china | No. | 3196
| Shower tray: plastic | 20 | No. of fittings | Shower tray | Plastic | No. | 516
5.02 | Unit Furniture
| Kitchen Fittings: Base units / worktop | 20 | Linear metre length | Base units |  | m | 605
| Kitchen Fittings: wall units | 20 | Linear metre length | Wall units |  | m | 404
| Other built in floor units | 20 | Linear metre length | Floor Units |  | m | 706
| Lecture Chair & Desk | 20 | No. of fittings | Units |  | No | 965
5.03 | Internal Fittings & Furniture
6 | EXTERNAL GROUNDS & GARDENS
6.01 | Landscaping
| grassed areas, new top soil, seed | 0 | Damaged areas only | Grassed areas |  |  |  | No. | 742
| plant beds, new top soil, plants, mulch | 0 | Damaged areas only | Plant beds |  |  |  | No. | 742
6.02 | Walls, Fencing & Gates
| Fencing: Timber Generally | 20 | Fence area (m2) | Fence | Timber | m2 | 104 | m2 | 121
| Decoration to external timber fencing (fence quantity requires to be doubled - both sides) | 5 | Fence area (m2) | Fence | Paint | m2 | 18 | m2 | 24
| Fencing: Timber Post & Wire | 20 | Fence area (m2) | Fence | Timber/Wire | m2 | 40 | m2 | 50
| Fencing: Steel Generally | 25 | Fence area (m2) | Fence | Steel | m2 | 203 | m2 | 243
| Decoration to external metal fencing (fence quantity requires to be doubled - both sides) | 5 | Fence area (m2) | Fence | Paint | m2 | 35 | m2 | 46
| Fencing: Concrete Post & Chain | 25 | Fence area (m2) | Fence | Concrete post & chain | m2 | 86 | m2 | 104
| Handrails: Metal | 25 | Linear metre length | Handrail | Steel | m | 67
| Decoration to metal handrails | 5 | Linear metre length | Handrail | Paint | m | 10
| Walls: Stone | 50 | Wall area (m2) | Wall | Stone | m2 | 855 | m2 | 1027
| Repointing existing stonework - coursed sandstone | 0 | Wall area (m2) | Wall | Lime mortar |  |  | m2 | 60
| Repointing existing stonework - random rubble | 0 | Wall area (m2) | Wall | Lime mortar |  |  | m2 | 76
| Walls: Facing Brick | 50 | Wall area (m2) | Wall | Facing brick | m2 | 337 | m2 | 404
| Repointing existing brickwork | 0 | Wall area (m2) | Wall | Mortar |  |  | m2 | 37
| Walls: Common Brick; render both sides | 50 | Wall area (m2) | Wall | Facing brick | m2 | 411 | m2 | 493
| Decoration to external render | 5 | Wall area (m2) |  | Paint | m2 | 34 | m2 | 40
| Walls: Reinforced Concrete | 50 | Wall area (m2) | Wall | Reinforced concrete | m2 | 304 | m2 | 363
| Walls / fences: Rotating anti climb guards | 20 | Linear metre length | Rotating anti climb guard | Steel | m | 71 | m2 | 90
| Low level crash barrier | 25 | Linear metre length |  | Steel | m | 129 | m2 | 161
6.03 | Roads & Car Parks
| Insitu Concrete: To car parks generally | 25 | Road / car park area (m2) | Car park / roads | Insitu concrete | m2 | 186 | m2 | 232
| Bitmac Surface: To car parks generally | 20 | Road / car park area (m2) | Car park / roads | Bitmac | m2 | 136 | m2 | 171
| Precast Concrete Blocks: Rectangular coloured paviors on earth base; sand bedding | 20 | Road / car park area (m2) | Car park / roads | Block paviors | m2 | 119 | m2 | 149
| Thermoplastic lining to roads / car parks - small sites | 10 | Linear metre length |  | Thermoplastic lining | m | 11
| Thermoplastic lining to roads / car parks - large sites | 10 | Linear metre length |  | Thermoplastic lining | m | 9
| Thermoplastic lining - disabled parking bay markings | 10 | Linear metre length | Disabled parking bay marking | Thermoplastic lining | No. | 120
6.04 | Paths & Paved Areas
| Bitmac Surface: To pathways generally | 20 | Road / car park area (m2) | Car park / roads | Bitmac | m2 | 136 | m2 | 171
| Bitmac Surface: To ramps generally | 20 | Ramp area (m2) | Ramp | Bitmac | m2 | 271 | m2 | 341
| Precast Concrete Flags: On sand, granular or on blinded hardcore base | 40 | Path / paved area (m2) | Path | Concrete paving slabs | m2 | 104 | m2 | 129
| Precast Concrete Flags to Ramps: On sand, granular or on blinded hardcore base | 40 | Ramp area (m2) | Ramp | Concrete paving slabs | m2 | 205 | m2 | 257
| Precast Concrete Blocks: Rectangular coloured paviors on earth base; sand bedding | 30 | Path / paved area (m2) | Path | Block paviors | m2 | 119 | m2 | 149
| Precast Concrete Blocks to Ramps: Rectangular coloured paviors on earth base; sand bedding | 30 | Ramp area (m2) | Ramp | Block paviors | m2 | 237 | m2 | 296
| Insitu Concrete: To pathways generally | 35 | Path / paved area (m2) | Path | Insitu concrete | m2 | 136 | m2 | 171
| Insitu Concrete: To ramps generally | 35 | Ramp area (m2) | Ramp | Insitu concrete | m2 | 271 | m2 | 341
| Yorkstone Slabs: On blinded hardcore base | 40 | Path / paved area (m2) | Path | Yorkstone slabs | m2 | 186 | m2 | 232
6.05 | External Fittings & Furniture
| Signage | 15 | No. of signs | Signage |  | No. | 437
| Lamp posts | 20 |  | Lamp post |  | No. | 0
| Bin | 15 | No. of bins | Bin |  | No. | 555
| Bench | 15 | No. of benches | Bench |  | No. | 956
| Bollards | 15 | No. of bollards | Bollards |  | No. | 387
| Decoration to bollards | 5 | No. of bollards | Bollards |  | No. | 67
| Sheffield Cycle Stand | 20 | No. of stands | Bike Stand | Metal | No. | 155
6.06 | Ancillary Buildings
| Gas meter housing | 20 | No. of gas meter housings | Gas meter housing |  | No. | 1676
| Single garage | 20 | No. of garages | Single Garage |  | No. | 10617
| Shed, 1.8m x 1.2m | 10 | No. of sheds | Timber shed |  | No. | 595
| Shed, 2.4m x 1.8m | 10 | No. of sheds | Timber shed |  | No. | 818
| Shed | 10 | 100% of GIA | Timber shed |  | m2 | 280
7 | DRAINAGE & EXTERNAL SERVICES
7.01 | Drainage/Sewerage
| Surface water drainage, based on area of hardstanding | 60 | Area of hardstanding (m2) - block 00 | Below ground drainage | Vitrified clay | m2 | 100
| Surface water drainage, based on area of hardstanding | 50 | Area of hardstanding (m2) - block 00 | Below ground drainage | PVCu | m2 | 61
| Surface water drainage, based on area of hardstanding | 60 | Area of hardstanding (m2) - block 00 | Below ground drainage | Concrete | m2 | 100
| Foul drainage, based on gifa - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 30 | 100% of GIA | Foul drainage |  | m2 | 26
| Foul drainage, based on gifa - 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | 100% of GIA | Foul drainage |  | m2 | 18
| Foul drainage, based on gifa - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 30 | 100% of GIA | Foul drainage |  | m2 | 22
| Foul drainage, based on gifa - 23 Offices (Mid Rise) | 30 | 100% of GIA | Foul drainage |  | m2 | 10
| Foul drainage, based on gifa - 24 Support Facilities | 30 | 100% of GIA | Foul drainage |  | m2 | 16
7.02 | External Utilities Infrastructure
| Gas Supply: Coiled Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 30 | 100% of GIA | Gas supply - coiled service pipe - underground | Medium density polyethylene | m2 | 26
| Gas Supply: Coiled Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | 100% of GIA | Gas supply - coiled service pipe - underground | Medium density polyethylene | m2 | 18
| Gas Supply: Coiled Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 30 | 100% of GIA | Gas supply - coiled service pipe - underground | Medium density polyethylene | m2 | 22
| Gas Supply: Coiled Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 24 Support Facilities | 30 | 100% of GIA | Gas supply - coiled service pipe - underground | Medium density polyethylene | m2 | 16
| Gas Supply: Mains Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 35 | 100% of GIA | Gas supply - mains service pipe - underground | Medium density polyethylene | m2 | 26
| Gas Supply: Mains Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 35 | 100% of GIA | Gas supply - mains service pipe - underground | Medium density polyethylene | m2 | 18
| Gas Supply: Mains Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 35 | 100% of GIA | Gas supply - mains service pipe - underground | Medium density polyethylene | m2 | 22
| Gas Supply: Mains Service Pipe: Medium density polyethylene; laid underground; electrofusion joints in running length - 24 Support Facilities | 35 | 100% of GIA | Gas supply - mains service pipe - underground | Medium density polyethylene | m2 | 16
7.03 | Site Lighting
| Wall mounted bulkhead fitting | 15 | No. of fittings |  |  | No. | 374
| Column lighting | 20 | No. of fittings |  |  | No. | 1325
| Bollard fitting | 15 | No. of fittings |  |  | No. | 742
7.04 | Lightning Protection
| Lightning Protection | 25 | 100% of GIA | Lightning protection |  | m2 | 4.8
7.05 | CCTV (External)
| CCTV (External) | 15 | 100% of GIA | CCTV (external) |  | m2 | 4.8
8 | FUEL STORAGE & DISTRIBUTION
8.01 | Fuel Supply/Distribution
| Fuel Supply / Distribution - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 45 | 100% of GIA | Fuel supply / distribution |  | m2 | 6.1
| Fuel Supply / Distribution - 05 Mental Health Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 45 | 100% of GIA | Fuel supply / distribution |  | m2 | 9.2
| Fuel Supply / Distribution - 06 Community Hospital | 45 | 100% of GIA | Fuel supply / distribution |  | m2 | 19.6
| Fuel Supply / Distribution - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 45 | 100% of GIA | Fuel supply / distribution |  | m2 | 7.6
| Fuel Supply / Distribution - 23 Offices (Mid Rise) / 24 Support Facilities | 45 | 100% of GIA | Fuel supply / distribution |  | m2 | 1.6
8.02 | Storage
| Oil tank | 30 | £1 / litre
9 | BOILERS & CALORIFIERS
9.01 | Boiler Plant
| Boiler Plant - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 25 | % of GIA |  |  | m2 | 11
| Boiler Plant - 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 25 | % of GIA |  |  | m2 | 15.4
| Boiler Plant - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 25 | % of GIA |  |  | m2 | 39.1
| Boiler Plant - 23 Offices (Mid Rise) | 25 | % of GIA |  |  | m2 | 21.4
| Boiler Plant - 24 Support Facilities | 25 | % of GIA |  |  | m2 | 21.4
| Boiler plant - 20kw | 15 | No. of boilers |  |  | No. | 4662
| Boiler plant - 40kw | 15 | No. of boilers |  |  | No. | 6993
| Boiler plant - 60kw | 15 | No. of boilers |  |  | No. | 9323
| Gas/Oil Fired Boilers: Industrial Water Boilers: Cast iron sectional boilers; gas or oil fired on/off or high/low type | 25 | No. of boilers |  |  | No. | 31341
| Gas/Oil Fired Boilers: Packaged Water Boilers: Gas or oil fired; on/off or high/low type | 25 | No. of boilers |  |  | No. | 31341
9.02 | Pressurisation Plant
| Pressurisation Plant | 15 | % of GIA |  |  | m2 | 2.6
9.03 | Calorifiers/Heat Exchangers
| Storage Cylinders/Calorifiers: Copper: Direct/indirect hot water cylinders; single/double feed; pre-insulated | 30 | % of GIA | Storage cylinder / calorifier (direct / indirect) | Copper | m2 | 9.7
| Storage Cylinders/Calorifiers: Copper: Direct/indirect hot water cylinders; single/double feed; pre-insulated | 30 | No. of cylinders / calorifiers | Storage cylinder / calorifier (direct / indirect) | Copper | No. | 1827
| Storage Cylinders/Calorifiers: Copper: Combination direct hot water storage units | 30 | No. of cylinders / calorifiers | Storage cylinder / calorifier (Combi) | Copper | No. | 167
| Storage Cylinders/Calorifiers: Galvanised Mild Steel: Storage calorifier | 30 | No. of cylinders / calorifiers | Storage cylinder / calorifier | Galvanised mild steel | No. | 167
| Heat Pump: Packaged Air to Water: Three phase 415v compressor; fan; heat exchanger | 15 | No. of heat pumps | Heat pump |  | No. | 167
| Heat Pump: Packaged Reciprocating: Three phase 415v compressor; cooler; condenser; control panel | 15 | No. of heat pumps | Heat pump |  | No. | 167
| Heat Exchanger: Packaged Plate: Instantaneous water heaters; primary pump; temperature sensor; thermostatic control panel | 15 | No. of heat exchangers | Heat exchanger |  | No. | 1208
9.04 | Flues
| Through wall balanced flue | 25 | No. of boilers |  |  | No. | 665
| Conventional stainless steel chimneys/flues | 25 | No. of flues |  |  | No. | 11117
9.05 | Controls/Meters
|  | 20 | % of GIA |  |  | m2 | 3.2
9.06 | Insulation
|  | 25 | % of GIA |  |  | m2 | 2
10 | STEAM SYSTEMS
10.01 | Distribution Pipework
| Steam plant: Steam pipework installations | 30 | % of GIA | Steam pipework |  | m2 | 28
10.02 | Valves
| Valves - small | 15 | No. of valves | Valves |  | No. | 2648
| Valves - large | 15 | No. of valves | Valves |  | No. | 13233
10.03 | Controls
| Steam plant: Control equipment | 15 | % of GIA |  |  | m2 | 70
10.04 | Meters
| Steam plant: Instrumentation | 15 | No. of meters |  |  | No. | 1325
10.05 | Condense Systems
| Steam plant: Condensate systems | 15 | % of GIA |  |  | m2 | 28
10.06 | Insulation
| Insulation | 30 | % of GIA |  |  | m2 | 2.9
11 | HEATING SYSTEMS
11.01 | Distribution Pipework
| LTHW pipework - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 05 Mental Health Hospital / 07 Older People Hospital / 08 Multi Service Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 30 | % of GIA | LTHW pipework |  | m2 | 94
| LTHW pipework - 06 Community Hospital | 30 | % of GIA | LTHW pipework |  | m2 | 73
| LTHW pipework - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | % of GIA | LTHW pipework |  | m2 | 31
| LTHW pipework - 23 Offices (Mid Rise) | 30 | % of GIA | LTHW pipework |  | m2 | 107
| LTHW pipework - 24 Support Facilities | 30 | % of GIA | LTHW pipework |  | m2 | 99
11.02 | Heat Emitters
| Heat emitters - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 05 Mental Health Hospital / 07 Older People Hospital / 08 Multi Service Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 20 | % of GIA | Heat emitters |  | m2 | 17.9
| Heat emitters - 06 Community Hospital | 20 | % of GIA | Heat emitters |  | m2 | 41.4
| Heat emitters - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Heat emitters |  | m2 | 12
| Heat emitters - 23 Offices (Mid Rise) | 20 | % of GIA | Heat emitters |  | m2 | 37.4
| Heat emitters - 24 Support Facilities | 20 | % of GIA | Heat emitters |  | m2 | 19.6
| Heat Emitters: Radiators: Low surface temperature; single panel | 20 | No. of emitters | Radiators |  | No. | 455 | No. | 566
| Heat Emitters: Skirting Heaters: Pressed metal with fins on copper tube | 20 | Linear metre length | Skirting heaters |  | m | 186 | m | 232
| Heat Emitters: Radiant Strip Heaters: Steel tube aluminium radiant plates incl. insulation, sliding brackets, cover plates, end closures | 20 | Linear metre length | Radiant strip heaters |  | m | 304 | m | 379
| Heat Emitters: Electric Convector Heaters: Wall mounted; fixed to structure; 3kW output; integral thermostat | 10 | No. of emitters | Electric convector heaters |  | No. | 288 | No. | 357
| Heat Emitters: Electric Storage Heaters: Low level wall mounted; thermostatic controls; fixed to structure | 20 | No. of emitters | Electric storage heaters |  | No. | 569 | No. | 715
| Air Curtains: Electrically Heated Commercial Grade: Recessed/exposed units with rigid steel casing; aluminium grilles; high quality motor/centrifugal fan | 15 | No. of air curtain heaters | Air curtain heaters |  | No. | 3555 | No. | 4608
11.03 | Controls
| Accessories: Controls: Thermostatic radiator valves | 20 | % of GIA |  |  | m2 | 2.6
| Accessories: Controls: Thermostatic radiator valves | 20 | No. of valves |  |  | No. | 86 | No. | 107
11.04 | Heating Pumps
| Heating Pumps | 15 | % of GIA |  |  | m2 | 6.9
11.05 | Insulation
| Insulation | 30 | % of GIA |  |  | m2 | 9.2
12 | VENTILATION SYSTEMS
12.01 | Ventilation Plant
| Ventilation systems general- 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 20 | % of GIA | Ventilation system |  | m2 | 58.5
| Ventilation systems general - 05 Mental Health Hospital / 07 Older People Hospital | 20 | % of GIA | Ventilation system |  | m2 | 29.3
| Ventilation systems general - 06 Community Hospital | 20 | % of GIA | Ventilation system |  | m2 | 42.5
| Ventilation systems general - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA | Ventilation system |  | m2 | 20
| Ventilation systems general - 23 Offices (Mid Rise) | 20 | % of GIA | Ventilation system |  | m2 | 24
| Ventilation systems general - 24 Support Facilities / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 20 | % of GIA | Ventilation system |  | m2 | 29.3
| Ventilation systems general - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Ventilation system |  | m2 | 4.8
| Air Handling Units: Ceiling/Floor Void Mounted: Aluminium framed with double skinned insulated panels; access panels; support brackets/base frame: Air fan with motor; filter; damper; LPHW heating coil; cooling coil; attenuator | 20 | No. of AHU's | Air handling units |  | No. | 30932
| Air Handling Units: Ceiling/Floor Void Mounted: Aluminium framed with double skinned insulated panels; access panels; support brackets/base frame: Air fan with motor; filter; damper; LPHW heating coil; cooling coil; attenuator | 20 | % of GIA | Air handling units |  | m2 | 55.7
| Extract Fans: Centrifugal: Three phase 415v; belt driven; flexible connectors; base frame; anti vibration mountings | 15 | No. of fans | Extract fans (centrifugal) |  | No. | 5560
| Roof Extract Fans: Axial Flow: Single phase 240v; controls; glass fibre weather cap and base; bird guard and shutters; kerb mounted | 15 | No. of fans | Roof extract fans (axial) |  | No. | 956
| Toilet Ventilation: Packaged Units | 15 | No. of fans | Toilet ventilation (packaged) |  | No. | 2679
| Domestic fan | 10 | No. of fans |  |  | No. | 200
12.02 | Distribution Ductwork
| Distribution Ductwork generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 35 | % of GIA | Distribution ductwork |  | m2 | 175
| Distribution Ductwork generally - 05 Mental Health Hospital / 07 Older People Hospital | 35 | % of GIA | Distribution ductwork |  | m2 | 117
| Distribution Ductwork generally - 06 Community Hospital | 35 | % of GIA | Distribution ductwork |  | m2 | 146
| Distribution Ductwork generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 35 | % of GIA | Distribution ductwork |  | m2 | 68
| Distribution Ductwork generally - 23 Offices (Mid Rise) | 35 | % of GIA | Distribution ductwork |  | m2 | 75
| Distribution Ductwork generally - 24 Support Facilities | 35 | % of GIA | Distribution ductwork |  | m2 | 126
| Distribution Ductwork generally - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 35 | % of GIA | Distribution ductwork |  | m2 | 117
| Distribution Ductwork generally - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 35 | % of GIA | Distribution ductwork |  | m2 | 78
| Ductwork: Galvanised Mild Steel: Rectangular low pressure; joints and couplers in the running length incl. stiffeners; access doors and test holes | 35 | % of GIA | Distribution ductwork | Galvanised mild steel | m2 | 70
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 20
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 05 Mental Health Hospital / 07 Older People Hospital | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 13.5
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 06 Community Hospital | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 16
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 7.5
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 23 Offices (Mid Rise) | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 8.5
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 24 Support Facilities | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 13.7
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 13.1
| Ductwork Insulation: Foil Faced Flexible: 40mm; secured with adhesive and foil tape; finished with galvanised wire netting - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 35 | % of GIA | Ductwork insulation | Foil faced | m2 | 8.8
12.03 | Automatic Fire Dampers & Control Panel
| Fire Dampers: Folding Curtain Type: Galvanised steel casing; stainless steel blades; 4hr fire rating; installation frame; local access door in duct line | 20 | No. of dampers |  |  | No. | 1208
12.04 | Controls
| Controls - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 20 | % of GIA |  |  | m2 | 19.6
| Controls - 05 Mental Health Hospital / 07 Older People Hospital | 20 | % of GIA |  |  | m2 | 13.1
| Controls - 06 Community Hospital | 20 | % of GIA |  |  | m2 | 16.3
| Controls - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA |  |  | m2 | 7.5
| Controls - 23 Offices (Mid Rise) | 20 | % of GIA |  |  | m2 | 8.5
| Controls - 24 Support Facilities | 20 | % of GIA |  |  | m2 | 13.7
| Controls - 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 20 | % of GIA |  |  | m2 | 13.1
| Controls - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA |  |  | m2 | 8.8
12.05 | Room Split/Chillers/Compressors
| Air conditioning generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital |  | % of GIA | Air conditioning |  | m2 | 114
| Air conditioning generally - 05 Mental Health Hospital / 07 Older People Hospital |  | % of GIA | Air conditioning |  | m2 | 48
| Air conditioning generally - 06 Community Hospital |  | % of GIA | Air conditioning |  | m2 | 92
| Air conditioning generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician |  | % of GIA | Air conditioning |  | m2 | 71
| Air conditioning generally - 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation |  | % of GIA | Air conditioning |  | m2 | 17
| Air Conditioning: Split DX | 15 | No. of indoor units | Air conditioning |  | No. | 7586
| Air Conditioning: VAV System: Terminal units (bellows/box type); controls and ancillaries | 17 | No. of systems | Air conditioning - VAV system |  | No. | 7586
| Air Conditioning: Terminal Re-Heat System: Units, controllers and ancillaries generally | 20 | No. of systems | Air conditioning - terminal re-heat system |  | No. | 8506
| Air Conditioning: Two-/Four-Pipe Fan Coil System: Wall/ceiling mounted water coil; single phase 240v centrifugal fan; 3 speed regulator | 20 | No. of systems | Air conditioning - fan coil system |  | No. | 9612
| Chilled Water: Chilled Beams: Passive; exposed below/flush ceiling | 20 | Linear metre length | Air conditioning - chilled beam system |  | m | 1525
12.06 | Chillers/Cooling Systems
| Air Conditioning: Packaged System: External units generally | 15 | No. of systems |  |  | No. | 5560
| Air Conditioning: Terminal Heat Pump with Central Ventilation: Reverse cycle; wall/floor mounted; single phase 240v compressor; 3 speed fan | 15 | No. of systems |  |  | No. | 4920
| Chilled Water Installation: Chilled Beams: Active; flexible connections; shut-off couplings | 20 | No. of systems |  |  | No. | 4920
| Central Refrigeration Plant: Packaged Chillers: Water cooled; 3 phase 415v screw compressor; condenser; control panel | 20 | No. of systems |  |  | No. | 4920
| Central Refrigeration Plant: Packaged Chillers: Air cooled liquid; 3 phase 415v compressor; evaporator; condenser; control panel; acoustic attenuation and anti-vibration mountings | 20 | No. of systems |  |  | No. | 51547
12.07 | Cooling Towers
Cooling Towers
13 | MEDICAL GAS SYSTEMS
13.01 | Vacuum Insulated Evaporators
(normally leased)
13.02 | Distribution
| Medical Gas: Distribution pipework - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 35 | % of GIA | Distribution pipework |  | m2 | 15
| Medical Gas: Distribution pipework - 06 Community Hospital | 35 | % of GIA | Distribution pipework |  | m2 | 9.8
13.03 | Manifolds
| Medical Gas: Manifolds | 20 | No. of manifolds | Manifolds |  | No. | 539
| Medical Gas: Manifolds - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 20 | % of GIA | Manifolds |  | m2 | 3.2
| Medical Gas: Manifolds - 06 Community Hospital | 20 | % of GIA | Manifolds |  | m2 | 2.2
13.04 | Gas Cylinder Storage
13.05 | Outlets
| Medical Gas: Outlets | 15 | No. of outlets | Outlets |  | No. | 141
| Medical Gas: Outlets - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 15 | % of GIA | Outlets |  | m2 | 6.1
| Medical Gas: Outlets - 06 Community Hospital | 15 | % of GIA | Outlets |  | m2 | 3.9
13.06 | Alarm Systems
| Medical Gas: Alarm Systems | 15 | No. of alarms systems |  |  | No. | 539
| Medical Gas: Alarm Systems - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 15 | % of GIA |  |  | m2 | 6.1
| Medical Gas: Alarm Systems - 06 Community Hospital | 15 | % of GIA |  |  | m2 | 3.9
13.07 | Medical Air Compressors/Vacuum Pumps
| Medical Gas: Compressors | 25 | No. of compressors | Compressors |  | No. | 6668
| Medical Gas: Vacuum pumps/plant | 25 | No. of vacuum pumps / plant | Vacuum pumps / plant |  | No. | 6668
14 | HOT & COLD WATER SYSTEMS
14.01 | Water Storage & Header Tanks
| Storage Tank: GRP: Generally | 35 | 100% of GIA | Storage tank | GRP | m2 | 6.9
14.02 | Water Treatment Plant
Water Treatment Plant
14.03 | Distribution Pipework
| Pipes: Copper / stainless steel: Pipework generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 53
| Pipes: Copper / stainless steel: Pipework generally - 05 Mental Health Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 46
| Pipes: Copper / stainless steel: Pipework generally - 06 Community Hospital | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 46
| Pipes: Copper / stainless steel: Pipework generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 46
| Pipes: Copper / stainless steel: Pipework generally - 23 Offices (Mid Rise) | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 35
| Pipes: Copper / stainless steel: Pipework generally - 24 Support Facilities | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 35
| Pipes: Copper / stainless steel: Pipework generally - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 40 | % of GIA | Distribution Pipes | Copper / stainless steel | m2 | 46
14.04 | Pumps
| Pumps: Centrifugal Heating | 15 | % of GIA | Pumps |  | m2 | 3.2
| Pumps: Pipeline Mounted Circulator: For low and medium pressure hot water heating systems | 10 | No. of pumps | Pumps |  | No. | 1625
14.05 | Valves/Controls
| Valves / Controls - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 30 | % of GIA |  |  | m2 | 6.4
| Valves / Controls - 05 Mental Health Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 30 | % of GIA |  |  | m2 | 3.9
| Valves / Controls - 06 Community Hospital | 30 | % of GIA |  |  | m2 | 5
| Valves / Controls - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 30 | % of GIA |  |  | m2 | 10.5
| Valves / Controls - 23 Offices (Mid Rise) | 30 | % of GIA |  |  | m2 | 4.8
| Valves / Controls - 24 Support Facilities | 30 | % of GIA |  |  | m2 | 2.7
| Valves / Controls - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | % of GIA |  |  | m2 | 9.5
14.06 | Water Heaters
| Water Heaters: Instantaneous | 10 | No. of water heaters |  |  | No. | 374
| Water Heaters: Storage type | 10 | No. of water heaters |  |  | No. | 1485
| Electric shower | 10 | No. of showers |  |  | No. | 665
14.07 | Insulation
| Thermal Insulation: Glass Fibre: Preformed; to pipework | 20 | % of GIA | Insulation | Glass fibre (pre-formed) | m2 | 2
| Thermal Insulation: Phenolic Foam: Sections covered with bright Class `O' foils; to pipework | 20 | % of GIA | Insulation | Phenolic foam (with bright class 'O' foils | m2 | 2
| Thermal Insulation: Polyethylene: Black flexible fire resistant; fixed with bands; to pipework | 20 | % of GIA | Insulation | Polyethylene | m2 | 2
14.99 | Other - sprinkler installation
| Sprinkler installation generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 25 | % of GIA | Sprinkler installation |  | m2 | 110
| Sprinkler installation generally - 06 Community Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 25 | % of GIA | Sprinkler installation |  | m2 | 51
| Sprinkler installation generally - 24 Support Facilities | 25 | % of GIA | Sprinkler installation |  | m2 | 50
| Sprinkler Heads: Brass Body with Frangible Glass Bulb: Conventional /sidewall pattern/satin chrome plated | 25 |  | Sprinkler heads | Brass | No. | 113
15 | LIFTS & HOISTS
15.01 | Passenger Lifts
| Lifts: Light Passenger: Electric traction operated; single opening; standard finish; internal lighting; fireman's controls; in-car telephone; controls; 630kg, 8 person, 0.63m/s, 10 levels | 25 | No. of lifts | Electric traction operated |  | No. | 154017
| Lifts: Light Passenger: Electro hydraulic drive; single opening; standard finish; handrail; internal lighting and fireman's controls; in-car telephone; controls; 1000kg, 13 person, 0.63m/s | 25 |  |  |  |  | 0
| Lifts: General Purpose Passenger: Electric traction operated; single opening; standard finish; internal lighting; fireman's controls; in-car telephone; controls; 800kg, 10 person, 1.0m/s, 10 levels | 25 | No. of lifts | Electric traction operated |  | No. | 194194
| Lifts: Intensive Passenger: Electric traction operated; single opening; standard finish; internal lighting; fireman's controls; in-car telephone; controls; 1600kg, 21 person, 2.5m/s, 10 levels | 25 | No. of lifts | Electric traction operated |  | No. | 256136
15.02 | Goods Lifts
| Lifts: Goods: Electro Hydraulic drive; 2000kg, 0.4m/s, stainless steel car lining; plate floor and galvanised shutters, 10 levels | 22 | No. of goods lifts | Electro hydraulic |  | No. | 277899
| Lifts: Goods: Industrial scissor generally | 20 |  | Industrial scissor |  |  | 0
15.03 | Hoists
| Lifts: Service Hoists: Single speed a/c drive; 250kg, 0.4m/s; single opening; self supporting; free standing steel structure; bi-parting doors with stainless steel finish; intercom | 25 | No. of floors | Hoist |  | Floors | 8372
15.04 | Control Panel
| Control Panel - Lifts: Light Passenger | 15 | No. of control panels |  |  | No. | 15403
| Control Panel - Lifts: General Purpose Passenger | 15 | No. of control panels |  |  | No. | 19423
| Control Panel - Lifts: Intensive Passenger | 15 | No. of control panels |  |  | No. | 25616
15.99 | Other
| Escalators: 30 degree inclination; 3.50m vertical rise; 0.5m/s | 20 | No. of floors |  |  | Floors | 247766
16 | FIXED PLANT / EQUIPMENT
16.01 | Sterilisers
| Sterilising equipment | 15 | No. of fittings | Sterilising equipment |  | No. | 8372
16.02 | Bedpan Disposal
| Disposal units | 15 | No. of fittings | Disposal units |  | No. | 16743
16.03 | Disinfection Equipment
| Disinfection Equipment | 15 | No. of fittings | Disinfection equipment |  | No. | 16743
16.04 | Catering Equipment
| Cooking equipment | 20 | No. of fittings |  |  | No. | 8372
16.05 | Laundry Equipment
| Washing machines | 20 | No. of fittings |  |  | No. | 5024
| Washing machines - domestic | 10 | No. of fittings |  |  | No. | 742
| Other laundry plant | 20 | No. of fittings |  |  | No. | 5024
16.06 | Miscellaneous Equipment
17 | ELECTRICAL SYSTEM
17.01 | HV Network
| HV Network | 30 | 100% of GIA of all relevant blocks |  |  | m2 | 3.5
17.02 | Generators
| Generator prime movers - diesel | 30 |  |  |  |  | 0
| Generator standby prime movers | 30 | No. of generators |  |  | No. | 130581
| LV Supply: Standby Generators: Diesel sets; three phase, 440 volt, four wire 50Hz | 25 | No. of generators |  |  | No. | 25113
17.03 | Switchgear
| HV Switchgear: Step Down Transformer: 500kVA; 3 Phase 11Kv/433 Volt 50Hz and LV cable boxes; all necessary connections | 30 | No. of switchgears |  |  | No. | 130581
| Main switchboard | 30 | Per way |  |  | No. | 5294
17.04 | Distribution Boards
| Distribution Boards generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 25 | 100% of GIA | Distribution boards |  | m2 | 120
| Distribution Boards generally - 05 Mental Health Hospital / 07 Older People Hospital / 23 Offices (Mid Rise) / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 25 | 100% of GIA | Distribution boards |  | m2 | 76
| Distribution Boards generally - 06 Community Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 25 | 100% of GIA | Distribution boards |  | m2 | 92
| Distribution Boards generally - 24 Support Facilities | 25 | 100% of GIA | Distribution boards |  | m2 | 77
| LV Distribution: MCB Distribution Board: SP&N; external protection enclosure | 25 | No. of boards | MCB distribution board |  | No. | 13394
17.05 | Wiring Systems/Bonding
| Electrical Circuits: Electric Power Circuit Generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 30 | % of GIA | Electrical wiring circuits - power |  | m2 | 98
| Electrical Circuits: Electric Power Circuit Generally - 05 Mental Health Hospital / 07 Older People Hospital / 23 Offices (Mid Rise) / 24 Support Facilities / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | % of GIA | Electrical wiring circuits - power |  | m2 | 51
| Electrical Circuits: Electric Power Circuit Generally - 06 Community Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 30 | % of GIA | Electrical wiring circuits - power |  | m2 | 58
| Electrical Circuits: Electric Lighting Circuit Generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 120
| Electrical Circuits: Electric Lighting Circuit Generally - 05 Mental Health Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 86
| Electrical Circuits: Electric Lighting Circuit Generally - 06 Community Hospital | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 110
| Electrical Circuits: Electric Lighting Circuit Generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 111
| Electrical Circuits: Electric Lighting Circuit Generally - 23 Offices (Mid Rise) | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 113
| Electrical Circuits: Electric Lighting Circuit Generally - 24 Support Facilities / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 30 | % of GIA | Electrical wiring circuits - lighting |  | m2 | 87
17.06 | Fittings
| Accessories: Controls: Light switch generally | 25 | 100% of GIA | Accessories, switches, sockets etc. |  | m2 | 25 | No. | 65
17.07 | Luminaires
| Luminaires generally | 15 | No. of luminaires |  |  |  |  | No. | 461
| Luminaires generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 15 | % of GIA |  |  | m2 | 69
| Luminaires generally - 05 Mental Health Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 15 | % of GIA |  |  | m2 | 49
| Luminaires generally - 06 Community Hospital | 15 | % of GIA |  |  | m2 | 72
| Luminaires generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 15 | % of GIA |  |  | m2 | 56
| Luminaires generally - 23 Offices (Mid Rise) | 15 | % of GIA |  |  | m2 | 69
| Luminaires generally - 24 Support Facilities | 15 | % of GIA |  |  | m2 | 48
17.08 | Emergency Luminaires
| Luminaires: Fluorescent: Emergency linear lighting; 3hr duration; electronic control gear | 15 | No. of luminaires |  |  |  |  | No. | 418
| Luminaires: Fluorescent: Emergency linear lighting; 3hr duration; electronic control gear | 15 | 100% of GIA |  |  | m2 | 32
17.99 | Other
| EV Charging: Type 2 twin outlet chargers, incl wiring, alterations to DB's, commissioning etc - wall type chargers | 10 | No. of chargers |  |  | No | 3756
| EV Charging: Type 2 twin outlet chargers, incl wiring, alterations to DB's, commissioning etc - pedestal type chargers | 10 | No. of chargers |  |  | No | 8585
| Solar panel installation: panels, wiring & ancillaries, commissioning etc | 10 | No. of panels |  |  | No | 1020
18 | COMMUNICATION SYSTEMS
18.01 | Telephone Systems
| Telephones | 20 | No. of systems | Telephone system |  | No. | 506
| Telephone system - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 06 Community Hospital / 08 Multi Service Hospital | 20 | % of GIA | Telephone system |  | m2 | 18.8
| Telephone system - 05 Mental Health Hospital / 07 Older People Hospital | 20 | % of GIA | Telephone system |  | m2 | 8.4
| Telephone system - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA | Telephone system |  | m2 | 13
| Telephone system - 23 Offices (Mid Rise) | 20 | % of GIA | Telephone system |  | m2 | 18.8
| Telephone system - 24 Support Facilities | 20 | % of GIA | Telephone system |  | m2 | 19.9
| Telephone system - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Telephone system |  | m2 | 15.3
18.02 | Data Transmission
| Data transmission - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 06 Community Hospital / 08 Multi Service Hospital | 20 | % of GIA | Data transmission |  | m2 | 57
| Data Transmission - 05 Mental Health Hospital / 07 Older People Hospital | 20 | % of GIA | Data transmission |  | m2 | 25
| Data Transmission - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA | Data transmission |  | m2 | 38
| Data Transmission - 23 Offices (Mid Rise) | 20 | % of GIA | Data transmission |  | m2 | 56
| Data Transmission - 24 Support Facilities | 20 | % of GIA | Data transmission |  | m2 | 58
| Data Transmission - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Data transmission |  | m2 | 47
18.03 | Paging Systems
| Paging systems - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 08 Multi Service Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) | 20 | % of GIA | Paging system |  | m2 | 16.1
| Paging Systems - 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA | Paging system |  | m2 | 10.8
18.04 | Nurse Call Systems
| Nurse Call Systems | 20 | % of GIA |  |  | m2 | 25.8
18.05 | Radio & Television Systems
| Radio & Television Systems | 20 | % of GIA |  |  | m2 | 7.6
18.06 | Bedhead Services
| Bedhead Services | 20 | No. of systems |  |  | No. | 5024
19 | ALARMS & DETECTION SYSTEMS
19.01 | Fire Alarm Panels
| Fire alarm panels - small | 20 | No. of panels |  |  | No. | 2915
| Fire alarm panels - large | 20 | No. of panels |  |  | No. | 8372
19.02 | Fire Alarm Wiring System
| Wiring generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 20 | % of GIA |  |  | m2 | 35.5
| Wiring generally - 05 Mental Health Hospital / 07 Older People Hospital / 24 Support Facilities | 20 | % of GIA |  |  | m2 | 29
| Wiring generally - 06 Community Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 20 | % of GIA |  |  | m2 | 29
| Wiring generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 23 Offices (Mid Rise) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 20 | % of GIA |  |  | m2 | 31.2
| Smoke Detectors generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital | 10 | % of GIA |  |  | m2 | 11.9
| Smoke Detectors generally - 05 Mental Health Hospital / 07 Older People Hospital / 24 Support Facilities | 10 | % of GIA |  |  | m2 | 9.7
| Smoke Detectors generally - 06 Community Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 10 | % of GIA |  |  | m2 | 9.7
| Smoke Detectors generally - 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 23 Offices (Mid Rise) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 10 | % of GIA |  |  | m2 | 10.8
19.03 | Security Systems
| Security Systems generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 05 Mental Health Hospital / 07 Older People Hospital / 08 Multi Service Hospital | 15 | % of GIA |  |  | m2 | 3.3
| Security Systems generally - 06 Community Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 24 Support Facilities / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 15 | % of GIA |  |  | m2 | 5.4
| Security Systems generally - 23 Offices (Mid Rise) | 15 | % of GIA |  |  | m2 | 9.7
| Security: Access Control: Card entry systems including card slot systems, card monitor systems, and push/touch coded systems; automatic lock/release or open/close mechanisms | 15 | No. of systems |  |  | No. | 1676 | No. | 2095
| Security: Detection: Equipment including pressure pads, break points, vibration/infra-red/ultra-sonic/movement and heat detectors | 15 | No. of systems |  |  | No. | 1485
| Security: Alarm: Equipment including alarm points, bells, indicator panels and lamps | 15 | No. of systems |  |  | No. | 1676
19.04 | CCTV (Internal)
| CCTV (Internal) | 15 | No. of systems |  |  | No. | 5024
| CCTV (Internal) generally | 15 | % of GIA |  |  | m2 | 4.8
19.05 | Panic Attack System
| Panic Attack System | 20 | No. of systems |  |  | No. | 5928
19.06 | Other Alarm Systems
| Accessible WC alarm | 20 | No. of systems |  |  | No. | 374
20 | BUILDING MANAGEMENT CONTROL SYSTEM
20.01 | Building Management System
| Building Management System generally - 01 Acute Hospital / 02 Children's Hospital / 03 Maternity Hospital / 04 Specialist Hospital / 08 Multi Service Hospital / 21 Health Centre / 22 Clinics (including Day Hospitals and Resource Centres) / 41 GP Practice / 42 Dental Practice / 43 Pharmacy / 44 Optician | 15 | % of GIA |  |  | m2 | 55.9
| Building Management System generally - 05 Mental Health Hospital / 06 Community Hospital / 07 Older People Hospital / 25 Staff Residential Accommodation / 26 Patient Residential Accommodation | 15 | % of GIA |  |  | m2 | 30.1
| Building Management System generally - 23 Offices (Mid Rise) | 15 | % of GIA |  |  | m2 | 37.6
| Building Management System generally - 24 Support Facilities | 15 | % of GIA |  |  | m2 | 31.2